Installing the Package

- Open RStudio

- Enter this into the console (or in a script and then run manually):

remotes::install_github(

"upstatefreshwater/UFIlab",

force = TRUE,

upgrade = "never"

)

- If no package called remotes error:

install.packages(“remotes”)

- Call the library:

library(UFIlab)

- Call the function

  - Either in the console, or in a script then run manually

clean_sample_data()

- A File explorer window will populate, select an input file and Open it.

Function Workflow

- The function will automatically run until it either

  - Hit’s a known snag

  - Hit’s a bug

  - Completes without errors

- If it hit’s a known data issue it should print an informative error message that will help the user manually go fix the problem.

- If it hit’s a bug you will likely encounter an error message that doesn’t make sense to you. If this happens:

  - Document the error exactly (copy/paste)

  - Provide DaveA with the error and the data you were using when the error was encountered (location on the server is fine)

- If the function runs without errors you will see

  - Data in the console (you can ignore)

  - Above the data in the console, a number of messages telling you:

    - Where your input data came from

    - Inform if QC check was performed and no action taken (e.g. “No bad parameters found in the data)

    - Where output data were saved

    - Number of QC mutations that were carried out “under the hood”

    - That “Function completed without Errors!”

  - If you see the final message “Function completed without Errors!”, two files will be saved into the input data file location:

    - “*_QC.xlsx”

      - This is a copy of the input data before mutation with two columns appended

        - qc_flag = a shorthand used for filtering on qc actions

        - qc_notes = longhand description for clarity of qc actions

    - “*_cleaned.xlsx”

      - This is the final result

Current QC Actions Implemented

- Remove bad params

- Rename OrderDetails

- Replace FDs in Site column with Location

- Throws error for missing site name

- Throws error for missing sample time when Param includes SRP, NO2, PTCoN

- Replace blank/missing SampleType when it should be FD as identified in Site column

- Changes Result values less than LOD to “<lod”

QC Actions Not Yet Implemented

- ID NULL/Character stored in Results

- Check for outliers based on

  - Historical IQR for each Param

  - Run-specific stats

Testing Suggestions

- Testing completed:

  - FD in Site

  - FD in Site w/ missing Locations

  - SampleType column missing

  - Results <LOD

- Note** After each successful run, look for the *_QC.xlsx and *_cleaned.xlsx files and make sure they look right and are understandable.

- Run across a variety of raw input files targeting failure modes:

  - Bad Parameters present

    - Can check the list but I think Cassie provided all, just paste UFIlab:::badparams into the console

  - Missing collection times

  - SampleType designations

    - I think we’ll hit a bug here due to capitalization possibly … what Cassie provided didn’t match exactly what was in one of the examples, just test using data with all possible SampleTypes!

  - Try using the `add_lod_units` argument by adding to function call:

    - add_lod_units = data.frame(Parameter = “name”, units = “units”)

  - Try updating: inst/extdata/LOD_values.xlsx

    - Add any missing parameters

    - Update values for parameters already included

      - If you add missing parameters we should hit a bug because of missing units due to an internal dataset I built which will need to be updated. Should be able to overcome using the add_lod_units argument.